AMS Radiocarbon Dating of a Wood Sample from Tunel Ravne: Methods, Results and Implications for Further Research.

Andrew Lawler BA (Hons) Cantab

Abstract

This paper discusses the discovery of a piece of wood discovered embedded in the sediments of the Tunel Ravne complex, Visoko, Bosnia-Herzegovina. The wood was sampled, and sent for Radiocarbon analysis to two independent establishments. Below the procedures involved in sampling, and a brief outline of the methodologies and principles applied in the AMS 14C dating are detailed, as well as an appraisal of implications for further work and directions of research regarding the tunnel system.

Introduction

During work on Tunel Ravne November 2007, workers discovered a dark, soft compressible material preserved embedded within the sides of the tunnel, at a height of 1.4 metres, during the clearance of debris and installation of wooden support beams to facilitate visitor access. Initial examination on 12th November by employees of the Foundation led to the assumption that the material was organic in nature, and potentially capable of yielding dating evidence. The Permanent Archaeologist was alerted to this, and work in the immediate vicinity was temporarily halted.

Originally, the material measured approximately 35cm in length and 8cm in width, with an unknown depth (now estimated to have been approximately 12cm), but a small collapse prior to 10th December reduced its width by approximately 8cm.

On 15th January 2008, the Permanent Archaeologist took a small sub-sample of the material, and confirmed it to be wood. After discussion with directors of the Foundation, it was decided that this wood should be sampled, and C-14 analysis of the samples should be undertaken by independent institutions, in order to determine its age.

Figure 1- The wood in situ, with label

Sampling

On 29th January 2008, the Permanent Archaeologist, along with an assistant, photographed the wood in situ, and removed 4 samples (<5a>, <5b>, <5c>, <5d>), each weighing approximately 5 grams. These were placed in labelled polythene bags, in accordance with guidance given in a telephone conversation with a member of staff at the Research Laboratory for Archaeology and the History of Art, University of Oxford.

Figure 2- The 4 Samples

After removal, a label was embedded into the sediments, denoting the location and date of sample removal, alongside the index number. The samples were then taken and stored in a refrigerator at 4°c, whilst the institutions to carry out the analyses were selected.

Eventually, it was decided that two separate AMS laboratories were to perform the analysis. Those chosen were the Research Laboratory for Archaeology and the History of Art, University of Oxford, UK, and the Leibniz-Laboratory for Radiometric Dating and Stable Isotope Research, of Christian-Albrechts University, Kiel, Germany. After completing all necessary paperwork and data sheets, these samples were packed in protective envelopes, and sent by recorded delivery on 26th February, 2008.

Figure 3- Oxford sample and data sheets ready to be sent

Notification that the samples were delivered to the relevant institutions was received by the Foundation on the 5th and 7th of March from Oxford and Kiel respectively.

Results- Kiel

On 6th May 2008, the Foundation received the results of the analysis undertaken by the Leibniz-Laboratory for Radiometric Dating and Stable Isotope Research, at Christian-Albrechts University, Kiel, via email. Below is a summary of them:

Table 1- Summary of 14C AMS Results

| Fraction | Corrected pMC† | Conventional Age | 13C(‰)‡ |
| --- | --- | --- | --- |
| Wood, alkali residue, 1.2 mg C | 2.22 ± 0.14 | 30600 + 540 / -510 BP | -26.47 ± 0.08 |

Preparation, Methodology and Calculation

After receipt, the wood sample was checked under a microscope and all material suitable for dating was selected. The demineralisation process consisted of processing through solutions of 1 % HCl, 1 % NaOH at 60°C and again 1 % HCl (to eradicate any alkaline residue). The combustion of the demineralised material into CO2 was performed in a closed quartz tube together with CuO and silver wool at 900 °C. The sample CO2 was reduced with H2 over about 2 mg of Fe powder as catalyst, and the resulting carbon/iron mixture was pressed into a pellet in the target holder, ready for AMS analysis. Alongside sample 5C, samples of the international isotopic standards used in AMS 14C dating, being reduced CO2 derived from oxalic acid (for ‘present day’ levels) and from background coal (considered to be radiocarbon ‘dead’) were also included in the particular AMS ‘run’, for comparison.

Equipment

The AMS system employed by the Leibniz-Laboratory for Radiometric Dating and Stable Isotope Research is a HVE 3 Million Volt Tandetron 4130 AMS system, equipped with a single caesium sputter ion source.

Methodology

The AMS methodology achieves accurate and reliable 14C dates by measuring the ratios of different carbon isotopes through the use of a high-powered electromagnet to separate single ionised atoms in a gaseous state according to atomic mass. These are deflected by the electromagnets into separate ‘chambers’, where their high-velocity impacts are counted individually. The fact that atom impacts are individually counted allows the accurate measurement of carbon isotope ratios from relatively low amounts of organic material (around 20mg is the generally accepted minimal amount). In the case of 14C AMS dating, the isotopes studied are those of all three carbon isotopes (12C, 13C, 14C). In nature, Nitrogen with an atomic mass of 14 also occurs naturally (as well as several 12C- and 13C- bearing molecular ions). To eradicate the risk of inaccuracies through the accidental measurement of 14N (which would give a much younger date, as particles with an atomic mass of 14 would be much more abundant in results), the gaseous samples are initially run in a negative ion beam, as N- ions are not stable. The AMS machine’s counters are then set to measure atomic masses of 12, 13, and 14, by adjusting the strengths of the electromagnets, and the individual ions are propelled into their relevant counters.

After the ions have been propelled into the counters and counted, the ratio of the three carbon isotopes is then calculated in order to calculate the age of the material studied.

Implications of result

During personal discussions with Mr Semir Osmanagić and Mr Goran Čakić, several statements were made regarding the circumstances in which the wood was found, namely:

- The wood was totally encased within the conglomerate material.

- The conglomerate material (removed in 2006) that overlay much of the nearby K1 megalith was in its original, compacted state.

- Many of the carvings evident on this stone were concealed by the consolidated conglomerate.

Supposing that the wood was deposited by the geological event which created the sediments into which the tunnels are cut, then the two possible conventional date ranges given by the Kiel AMS laboratory are in agreement with the proposed age of sediments given in an assessment report by Dr Aly A. Barakat after his visit to Visoko in 2006, in which he states that the Ravne continental conglomerate deposits are geologically recent, and formed during the Pleistocene or Holocene epoch. Regarding the above points, this material would be able to provide a terminus ante quem for the carvings observed on the K1 megalith, unless another event had reconsolidated collapsed material after the creation of the tunnel system, such as localised flooding or calcitic leaching. Unfortunately, scant documentation of this material in-situ and its subsequent removal exists, and no samples were taken of it for comparative analyses by independent institutions. Therefore, it cannot be proved that these carvings predate the original deposition of these sediments. More likely is the scenario in which these megaliths were deposited as erratics by the geological processes involved in the formation of the Ravne sediments. After these deposits stabilised and natural concretion processes evolved them into conglomerates, they became a suitable medium for tunnelling, and the tunnels were created, at a date as yet unknown. As these erratics were encountered, carvings were made on them. The tunnels were then abandoned at a later date, minor collapses of the conglomerate material occurred, and the erratics were once again buried under loose sediments. These were then able to reconsolidate to form a secondary conglomerate, derived from the original material.

At some points throughout the tunnel system, grading (see Figure 4) of material within the conglomerate can be observed, suggestive of original deposition within an aquatic environment. The fact that the carvings were cut into sandstone, a material highly susceptible to erosion and weathering, suggests that they were carved at a date long after these depositional processes had finished, as it is unlikely that they would survive for long in a high-energy riverine or coastal environment. This further backs up the idea that the stones and their carvings were reburied under collapsed material after the creation of the tunnels.

Figure 4- Grading evident in Tunnel Sediments (15m from Sample)

Implications for Further Research

As the dates given by the AMS 14C laboratories comply with the suggested age of the sediments, an emphasis of future research within the Ravne tunnel system should be placed upon the geological processes which occurred after the abandonment of the complex.  Samples of material overlying stones which bear carvings that are uncovered in the future should be maintained for both comparative geological analysis, and microscopic analysis, in order to retrieve any microfaunal and floral remains, as well as possible organic material, which could yield dating evidence. This methodology not only provides a further insight into the processes which occurred after the abandonment of the tunnels, but the dating evidence which could be collected in such an excavational procedure could provide a terminus ante quem for both the carvings found upon future stones, and for the tunnel system as a whole.

Note

As of July 2008, the result of the Research Laboratory for Archaeology and the History of Art, University of Oxford’s is still awaited by the Foundation, due to delays in analyses caused by the recalibration of the department’s accelerator mass spectrometer in April 2008.

References

Sternberg RA, Damon PE. 1992. Implications of dipole moment secular variation from 50,000-10,000 years for the radiocarbon record. Radiocarbon 34(2):189-198.

Stein, M., Goldstein, S.L. & Schramm, A. 2000. Radiocarbon calibration beyond the dendrochronology range. Radiocarbon 42, 415-422

Stuiver, M. & Polach, H.A., 1977. Discussion: Reporting of 14C Data. Radiocarbon 19(3): 355-363

Barakat, A.A., 2006. Geological and Geoarcheaological Observations on the Bosnian Pyramids at Visoko, Northwest Sarajevo.

http://www.c14dating.com/agecalc.html

http://physicsworld.com/cws/article/news/2676

http://www.earth.ox.ac.uk/research/2007/CMN1.pdf